Comparing the raw data (left) to peak picked data (agilent .d using agilent’s picking algo, middle) and peak picked and 1000 count intensity threshold. Basically, it alters the data in terms of the masses seen with the largest effect from the peak picking and thresholding, so I won’t do this.



